**Gill Athletics, Inc.**

**740134 – STEEPLECHASE WATER JUMP BARRIER, GROUND SLEEVED**

**SECTION 11 68 33.43**

**STEEPLECHASE WATER JUMP BARRIER**

**PART 1 GENERAL**

**1.01 SECTION INCLUDES**

A. **STEEPLECHASE WATER JUMP BARRIER**

**1.02 RELATED SECTIONS**

A. Section 31 23 00 Excavation and Fill.

B. Section 03 30 00 Cast-in-Place Concrete.

C. Section 32 18 23 Athletic Surfacing.

D. Section 32 12 16 Asphalt Paving.

**1.03 REFERENCES**

1. NFHS – National Federation of State High School Associations (NFHS)
2. NCAA – National Collegiate Athletic Association (NCAA)
3. IAAF – International Association of Athletics Federations (IAAF)
4. FIFA – International Federation of Association Football
5. FIBA – International Basketball Federation

**1.04 DESIGN REQUIREMENTS**

1. Steeplechase Water Jump Barrier: Locate positions of Steeplechase Water Jump Barrier on the site plan.
2. Verify that site conditions are adequate to support loads imposed by Steeplechase Water Jump Barrier.

**1.05 SUBMITTALS**

1. Comply with Section 01 33 00 – Submittal Procedures.
2. Product Data: Submit manufacturer's product data, including materials, components, fabrication, finish, and installation instructions.
3. Operation and Maintenance Manual: Submit manufacturer's operation and maintenance manual; including operation, maintenance, adjustment, and cleaning instructions; trouble shooting guide; parts list.

**1.06 QUALITY ASSURANCE**

A. Single Source Responsibility: Provide Steeplechase Water Jump Barrier from single manufacturer.

B. Manufacturer's Qualifications: Minimum of 5 consecutive years of experience manufacturing Steeplechase Water Jump Barrier similar to that specified.

C. Installer's Qualifications: Contractor experienced with track & field installation, concrete work, asphalt paving, and track surfacing.

D. Regulatory Requirements: Steeplechase Water Jump Barrier shall conform to latest rules and regulations.

1. National Federation of State High School Associations (NFHS).

2. National Collegiate Athletic Association (NCAA)

3. International Association of Athletics Federations (IAAF)

4. International Federation of Association Football (FIFA)

5. International Basketball Federation (FIBA)

**1.07 DELIVERY, STORAGE, AND HANDLING**

A. Delivery: Deliver materials to site in manufacturer's original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

B. Storage: Store materials in clean, dry area indoors in accordance with manufacturer's instructions. Keep temporary protective coverings in place.

C. Handling: Protect materials and finish from damage during handling and installation.

**1.08 WARRANTY**

A. Provide 5-year warranty against defects in materials and workmanship, unless otherwise specified.

**PART 2 PRODUCTS**

**2.01 MANUFACTURER**

A. Manufactured and Supplied by:

Gill Athletics, Inc.

601 Mercury Drive

Champaign, Illinois 61822

Toll Free (800) 637-3090

Phone (217) 367-8438

Fax (217) 367-8440

Web Site [www.gillathletics.com](http://www.gillathletics.com)

E-Mail [sales@gillathletics.com](mailto:sales@gillathletics.com)

**2.02 740134 – STEEPLECHASE WATER JUMP BARRIER, GROUND SLEEVED**

1. COMPONENTS:
2. Water Jump Beam
   1. Consists of one (1) Beam
   2. Constructed of 4” SQ aluminum extrusion
   3. Sides and top is covered in ½” track surface
   4. Finished beam dimensions are 5”x5”x12’
3. Upper Leg Assembly
   1. Consists of two (2) Upper Leg Assemblies
   2. Constructed of a 3 ½” SCH40 steel pipe and a triangular steel gusset welded to a rectangular steel bolting plate
   3. Powder coated gloss black
   4. Inside of steel tube is lined with PVC Tube Bushing
4. Lower Leg Assembly
   1. Consists of two (2) Lower Leg Assemblies
   2. Constructed of 2 ½” SCH40 steel pipe with a series of holes and slots
   3. Steel spring plate welded inside the pipe above the slots
   4. Approximately 55” long
   5. Powder coated gloss black
5. Hardware
   1. Consists of two (2) springs
   2. Consists of four (4) Clamping Knobs
   3. Clamping plates and zinc plated hardware to bolt upper legs to beam
   4. Two (2) Quick release pins
   5. Various additional zinc coated hardware
6. Ground Sleeve
   1. Consists of two (2) Ground Sleeve
   2. Constructed of 3” SCH40 PVC Tube
   3. 32” long

**PART 3 EXECUTION**

**3.01 EXAMINATION**

A. Examine areas to receive Steeplechase Water Jump Barrier. Notify Architect in writing of conditions that would adversely affect installation or subsequent use. Do not proceed with installation until unsatisfactory conditions are corrected.

**3.02 INSTALLATION**

A. Install Steeplechase Water Jump Barrier in accordance with manufacturer's instructions at locations indicated on the Drawings.

B. Install equipment plumb, level, straight, square, accurately aligned, correctly located, to proper elevation, and secure.

C. Install equipment using manufacturer's supplied hardware and fasteners.

D. Repair minor damages to finish in accordance with manufacturer's instructions and as approved by Architect.

1. Remove and replace damaged components that cannot be successfully repaired, as determined by Architect.

**3.03 ADJUSTING**

1. Adjust Steeplechase Water Jump Barrier to plumb and level as appropriate.

**END OF SECTION**